Anexo C.1  Especificaciones del tanque separador horizontal de alta presión

HORIZONTAL HIGH PRESSURE RECEIVERS SPECIFICATIONS - ENGINEERING DATA - DIMENSIONS

DESCRIPTION

Horizontal high pressure receivers provide the main source of liquid refrigerant for a refrigeration system. It also provides a place to store refrigerant as needed to minimize the effect of system transients. In some system designs the high pressure receiver is also designed to store the entire system charge. This allows the system to be pumped down for maintenance.

FEATURES

Designed, fabricated, and certified to the ASME BPV Code and Manufacturer's Data Report registered with the National Board 250 psi standard design pressure (300 psi on 24 inch and smaller)

Post-weld heat treatment

High-quality, corrosion-resistant, long-lasting epoxy paint Customizable nozzle orientation, distance and size, etc. via CoolWare®

Shipped fully sealed and pressurized with a nominal nitrogen charge to maintain cleanliness and protect internal surfaces